# Technical Whitepaper: IoT-Integrated Hydropower MRV with Device-Level DIDs

Author: Bikram Biswas (BikramBiswas786)
Date: February 27, 2026
Subject: Technical Evolution of the Verra ACM0002 Methodology for the Hedera Guardian

## 1. Abstract

This whitepaper outlines the technical architecture and innovation behind the IoT-Integrated Hydropower MRV policy. While the Guardian repository contains a generic CDM ACM0002 template, this contribution represents a significant technical evolution by replacing manual trust with automated, machine-level verification. It bridges the gap between high-level carbon accounting standards and real-world IoT telemetry, ensuring "Digital MRV" that is tamper-proof and highly granular.

## 2. The Problem: The "Trust Gap" in Traditional MRV

Traditional MRV processes, including the existing CDM ACM0002 template, suffer from several critical weaknesses:

- Manual Data Entry: Project operators manually input energy generation data, which is prone to error and manipulation.

- Project-Level Reporting: Data is aggregated at the project level, hiding the performance of individual turbines.

- Delayed Verification: Verification occurs months or years after the energy is generated, making it difficult to correct errors.

## 3. The Solution: "Digital MRV" Architecture

This policy introduces a three-layer architecture to solve the "trust gap":

### 3.1. Identity Layer: Device-Level DIDs

Every turbine in the hydropower project is assigned a unique Decentralized Identifier (DID).

- Technical Implementation: The DID is anchored to the Hedera network. All telemetry data sent by the turbine is cryptographically signed using the turbine's private key.

- Innovation: This moves the "trust boundary" from the human operator to the machine itself. The Guardian platform verifies the signature before accepting the data.

### 3.2. Verification Layer: "Proof of Physics" Telemetry

Instead of just tracking "total energy (MWh)," this policy tracks the physics of the generation process:

- Flow Rate (m³/s) & Head Height (m): These parameters are used to calculate the theoretical energy output.

- Turbidity (NTU) & pH Level: These parameters monitor the environmental health of the water source.

- Innovation: By tracking the physical inputs (water flow and pressure), the system can cross-verify the reported energy output. If the reported MWh exceeds the theoretical maximum based on the flow rate, the system flags it for audit.

### 3.3. Asset Layer: REC NFTs with Royalties

Renewable Energy Certificates (RECs) are issued as Hedera Token Service (HTS) NFTs.

- Technical Implementation: Each NFT represents 1 MWh of verified renewable energy. The NFT metadata includes links to the specific HCS messages containing the turbine's signed telemetry.

- Innovation: Built-in, multi-tier royalty mechanisms ensure that the project developer receives a percentage of all secondary market sales, providing a sustainable funding model for project maintenance.

## 4. Comparison with Existing CDM ACM0002

The following table highlights the technical advancements of this policy over the existing template:

| Feature | Existing CDM ACM0002 | This Policy (Verra ACM0002 v22.0) |
| --- | --- | --- |
| Data Entry | Manual / Generic API | Automated IoT (M2M) |
| Identity | Project-level (Single DID) | Device-level (Multiple DIDs) |
| Verification | Periodic (Human Audit) | Real-time (Cryptographic) |
| Telemetry | Total Energy (MWh) | Flow, Head, pH, Turbidity |
| Asset Type | CER Tokens (Traditional) | REC NFTs with Royalties |

## 5. Conclusion

This contribution is not a mere "copy-paste" of existing work. It is a technical evolution that leverages the full power of the Hedera Guardian to create a more transparent, verifiable, and automated MRV process for the hydropower sector. It fulfills the core mission of the DLT Earth program by digitizing and innovating sustainability methodologies.

Developed by Bikram Biswas (BikramBiswas786)